City of Niederwald Requirements for Plan Submittals and Inspections

Residential Plan Submittal

2 Complete Sets of the Following

Site Built Residence

1.   Application

2.   Site Plan

3.   Foundation Plans Sealed by Engineer

4.   Architecture (Building Design)

5.   Electrical Plans

6.   Res-Check (Energy Conservation)

7.   Wind Brace Plan

8.   Roof Truss/Rafter Plan

9.   Manual J, S & D

10. OSSF Permit

11. Driveway Permit

Commercial Plan Submittal

2 Complete Sets of the Following

1.   Application

2.   TDLR# (if over $50,000) - Accessibility

3.   Site Plan

4.   Architecture (Building Design)

5.   Foundation Plans Sealed by Engineer

6.   Electrical Plans

7.   Mechanical Plans

8.   Plumbing Plans

9.   Com-Check (Energy Conservation)

10. OSSF Permit

11. Driveway Permit

Inspections

1. Temporary Power

2. Foundation Pre-pour by design engineer with verification by City

3. In-Slab Distribution

4. Sewer and Yard Line

5. Plumbing Rough and Layout

6. Frame, Mechanical, Plumbing Rough

7. Insulation

8. Wallboard

9. Final Inspection - Building, Mechanical, Electrical & Plumbing

NOTE: Any permit applications with structures to be placed on property located in 100 year flood plain must also include Floodplain Elevation Certificate